## Slide 1: PHIL Photoinjecteur au LAL
H. Monard
For PHIL Team

## Slide 2
ACCDEP context
R&D photo-injectors : futur e- accelerators = very bright sources
Users interested in low energy, good quality electron beam
local accelerator : technical plateform developp know-how and test stand for LAL others accelerator project (THOMX )
training of personnal & students

## Slide 3: LAL Rf gun experience
Year | Name | ncell | Application
1988 | CANDELA | 1.5 | R&D Rf gun
2000 | Elyse | 1.5 | Pulse Radiolysis (LCP)
2002 | Alpha-x | 2.5 | RX Production (Univ Starchlyde)  Daresbury (EBTF)
2007 | CERN/PHIN 1 | 2.5 | CLIC (CERN)
2010 | LAL/PHIN3 | 2.5 | Phil : R&D rf gun
2013 | ThomX | 2.5 | RX production
2014 ? | LAL/C4 | 4.5 | R&D rf gun
f = 3 GHz
Rf gun made in LAL
Building and running of RF gun in LAL
(workshop, assembling, measurements,conditionning, running)

## Slide 4
Photo-injection Principle
F = q Ef
Temporal structure
electron – laser
are identical
Short pulses: ps (fs)
Charged particle Acceleration
Electron Production with
photoemission
(cathode inside RF cavity)
Ef
RF (EM Wave)
Stationnary wave TM010
Laser
electrons
Cylindrical cavity
Ef ~ 80 MV/m  E ~ 4 MeV over 10 cm (@3 GHz)
Efforts on Photocathode & Laser

## Slide 5
PHIN RF gun
gun 2.5 cells
F = 2998.5 MHz
Used today in PHIL
RF coupling
Made in LAL
possible cathode change

## Slide 6
« Wrong » phase
« good » phase
Optimisation of energy
2.5 cells Rf gun
E(z,t) = Eo cos(kz) sin(wt+f)
enveloppe Ez
E field decelerating
Eo = 90 MV/m
Energy E/Es
E seen by electron
2.7 MeV
5.7 MeV
one electron on axis (r = 0)
Photo-injection Principle
Electron dynamics

## Slide 7
E < 0 : e- back to photocathode (secondary emission)
e- getting out
Dispersion of energy : dE/df minimum when energy is maximum
One electron on axis (r = 0)
energy out of the rf gun = f(phase)
Photo-injection Principle
Energy & dispersion

## Slide 8
SF6
Pik
Prk
Pic
Prc
MODULATOR
KLYSTRON
CIRCULATOR
RF GUN
PA
pump
pump
Pmax = 14 MW t = 3µs
RF source
PHIL RF source

## Slide 9
Oscillator Nd-YLF
F= 74,963750MHz
W/impulsion: 2 nJ
Amplification Nd-YLF
gain ~ 106
Pockels
cell
X 2
X 2
1 mJ
80 µJ
532 nm
1064 nm
266 nm
PHIL laser

## Slide 10
Some measurements on PHIL
Mg Cathode (alphax gun)
Cu cathode dark current
Charge – Phase (Cu cathode)
92 MV/m
Energy & dispersion
Intensity (mormalized)
Energy (MeV)

## Slide 11: PHIL yearly
2009
2010
2011
2012
Alphax Rf gun
2013
PHIN Rf gun
Ez max = 92 MV/m
E ~ 5 MeV
1st beam
Ez max ~ 45 MV/m
E < 3 MeV isolator !
YAG2,3,4
Mg test
1st user
FLUO spectrum
YAG1
LEETECH start
2014
Ez max ~ 60 MV/m
E ~ 4 MeV
Thomx RF gun
FLUO 1st spectrum
ThomX RF gun

## Slide 12
25 m
4 m
5,1 m
7,2 m
13.5 m
5 m
9.0 m
10 m
Contrôl
Room
Salle bleue
Amphi LAL
PHIL inside LAL
Beam direction
Non climatisée
galerie
Klystron
Laser
Modulator

## Slide 13
PHIL today
laser
RF gun
Beam stop
solenoids
YAG3
RF input
YAG 1
1 m
ICT2
YAG4
YAG2
ICT1
slit
BPM
Virtual Cathode
Al exit window
User area
Transfert arm
Cerenkov

## Slide 14
PHIL today
laser
RF gun
Beam stop
solenoids
YAG3
RF input
YAG 1
1 m
ICT2
YAG4
YAG2
ICT1
slit
BPM
Virtual Cathode
Al exit window
User area
Cerenkov
Transfert arm
Beam Parameters
10 pC < Q < 300 pC (Cu) with Mg Q ~ 1.4 nC
1.5 MeV < E < 4 MeV dE/E = 0.2% for 100pC@3 MeV
Pulse Duration ? (7 ps FWHM) Emittance ~ 4 to 10 mm.mrad
F = 5 Hz Imoy ~ 1 nA

## Slide 15
Beam Exit window of PHIL
window : Al 18 µm Ø16 mm
Fluorescence sphere
YAG2
YAG3
Lanex
Lanex screen
Beam on YAG screens & Lanex (in l’air)
Distance = 5 cm

## Slide 16: Examples Beam Images
YAG2
YAG3
YAG4
Lanex
(outside)
Transport conditions are different

## Slide 17: Beam size outside beam pipe
Beam size outside beam pipe
D = 1 cm
D = 6 cm
D = 15 cm
miror
YAG screen
e- beam
D
CCD
Vacuum 10-7 mbar
air 103 mbar

## Slide 18
Cathode transfert
+ cathode reservoir
Duration measure
(Cerenkov)
Emittance
(slits H&V + screen)
Not installed
User area
PHIL tomorrow
YAG3
YAG 1
YAG2
YAG4

## Slide 19
Photocathodes transfer
Collaboration with CERN/CTF
4 Cathodes holder
Transfer arm
« Diplomatic
Suitcase »
Cathodes

## Slide 20
First users : fluorescence of air
JEM/EUSO
LAL / APC
Japanese Experiment Module
EXtreme Universe Space observatory
Electron beam
window Al 18 µm
P = 10-8 mbar
P = 1 mbar à Patm
T = -50°C à 20°C
Charge > 100 pC
measurement 2%
E ~ MeV
Desired Caractéristics
Light created by secondary particles from cosmic rays in high atmosphere
Primaries energy estimated with flourescence of
Air with precision of 20%  improved to < 5%
D. Monnier, P Gorodetsky

## Slide 21
LEETECH @PHIL
3,6 m
2,5 m

## Slide 22
Tomorrow’s PHIL changes ?
  Shorter laser pulses (100 fs)
    need new laser
  4.5 cell RF gun
    Reduce energy upgrade costs
  magnetic chicane (2 dipoles)
    beam transport study+magnets
  Upgrade to 10 Hz
    decrease acquisition time
  Cathode preparation chamber
    LAL own production for PHIL and ThomX ?
  More users

## Slide 23: PHIL Users
Fluorescence of air High atmosphere conditions
(LAL D. Monnier) – first results
Diamond detector (LAL P. Bambade)
X ray source (100 eV) (UPMC P Jonnard) – october ?
Irradiation of electronic diodes (Univ Cherbourg )
LEETECH - Micromegas (LAL - S Barsuk)
- N electron < 100
Carbon nanotubes cathode tests ? (TRT-Thales)
…

## Slide 24
PHIL after tomorrow ?
Canon RF
4.5 cellules
Beam stop
YAG3
RF input
YAG 1
ICT2
ICT1
- 9 MeV
- Better charge transmission
- 2 users aera : 2 dipoles
Dark current < 1% in user 2
User 1
User 2
laser
ICT3
YAG2

## Slide 25
Thanks to all PHIL team !

## Slide 26
EM source (klystron ~ 15 MW)
3 GHz
LASER
5 Hz
Cavity= RF gun
PhotoCathode
laser
electrons
Electric field E = Eo cos(kz) sin(wt+f))
Synchronisation
Master Oscillator
75 MHz

## Slide 27
Photoinjector R&D issues
Parameter | Laser | photocathodes | RF gun
Energy (9 MeV) Dispersion (< 1%) | Energy Distribution (x,y) | Homogeneity QE(x,y) | 2.5 à 4.5 cell or Booster
High curent (> 1 kA) | Very short pulse ( 100 fs) | High QE (>10%) | high gradient (> 100 MV/m)
low emittance (< 5 µm.rad) | Energy Distribution (x,y) | Homogeneïty QE(x,y) | high gradient (> 100 MV/m)
high gradient (> 100 MV/m) |  | Electrical continuity | Surface state, geometry
Repetition rate (> 10 Hz) | Synchronization | Life time | cooling
Short pulse ( < 1 ps) | 100 fs | Response time ? | high gradient (> 100 MV/m)

## Slide 28: PHIL facts
- Test 1st klystron (24133) : HS
- Cooling of RF gun (temperature regulation)
- Test 2nd klystron (24137) : Htmax 15 kV –
Pik = 13 MW
- Fire inside Modulateur !
- Alphax RF gun conditionning
- YAG1 installation (beam diameter)
- Fisrt beam 4/11/09
- Pre-amp problem
Q = 100 pC, ionic pump perturbation-
(HT = 12.5 kV)
- Ez max alphax Rf gun = 90 MV/m
- Installation YAG2,3 , 4 screens + ict2
- Laser problem
- Energy Slit installation
- Long stop for modulator
- Control room moved
- Beam with 5 MeV, RF noise
- Power coupler change Pic/Prc
- Cathode Change,
- Installation ict1 (charge measurement)
- Arcing in RF isolator ! (HT > 13 kV)
- Mg cathode test (Q> 1 nC)
- Isolator repair
- aluminum exit window (18 µm)
- PHIN RF gun conditionning
- New LAL electronic for ict2
- 1st user : FLUO : 1st spectrum !
2009
2010
2011
2012