## Slide 1: ThomX X-ray source
Pierre Favier
Laboratoire de l’Accélérateur Linéaire
Fabian Zomer
Study of thermal effects in Fabry-Perot cavities
in the pulsed regime

## Slide 2
e- + laser
e- + X-ray
Compton X-ray source for societal applications
X-ray
fcol = 16,7 MHz

## Slide 3: Compton sources: Principle
q
Electron
Scattered electron
Laser
X/g ray
e- + glaser
e- + X/g ray
EX/g ray, max ~ 4ge2 hn
~ 40 000 for 50 MeV electrons
Powerful mechanism to boost photons
Compton Back Scattering (CBS)
Energy distribution (a.u.)
Eelectron=50MeV
Ex/g in keV
hn  1,1 eV
hn

## Slide 4: Compton sources: advantages & applications
Angular dependence
Wide energy range
EX/g ray, max ~ 4ge2 hn
q
Electron
Laser
X/g ray
EX/g ray = f(q)
Diaphragm
Quasi mono-energetic beam
10 keV – 100 keV | 1 – 30 MeV | > 30 MeV
30 - 80 MeV | 0,26 – 1,4 GeV | > 1,4 GeV
Radiography, radiotherapy | Nuclear waste management | Polarized positron source
Art history | Nuclear physics | gg collider
EX/g ray
Applications
Ee
Increase the size
of the accelerator
( 1-10%)

## Slide 5: Practical use
nx  sc
Main level arm
sc  0,5 barn
X-ray flux:
nx  sc
low
nx = 1013 ph/s
Societal applications
Plaser = 600 kW
State-of-the-art laser + ampli: 500 W
Store laser power in a Fabry-Perot cavity
LAL best achievement : 100 kW
Limited by thermal effects

## Slide 6
OPTICS
LASER
FABRY-PEROT CAVITIES IN THE PULSED REGIME

## Slide 7
Two plane mirrors
Two spherical mirrors
Fabry-Perot cavity
Thermal
effects
R&D
Round-trip frequency
n0 = 33,3 MHz
Cavity optical length: 9 m
Laser power: 50-100 W
Expected gain: 10 000
Expected stored power:
300 kW – 1MW
Requirements: 600 kW

## Slide 8: Thermal effects on the mirrors
Thermal expansion
Laser
ds
Thermal lensing
Curvature variation
Variation of the index of refraction
Reflection
Transmission
ds
Temperature gradient
in the coating
Temperature gradient
in the substrate

## Slide 9: Quantification of the thermal effects
Winkler model
ds 
Absorption in the coating ~ 0,5-1 10-5
Thermal expansion coefficient
Heat conductivity
W. Winkler et al. Physical Review A, 44(11) 1991
Stored power
in the cavity
Curvature change
a,k, a only depend on the material
 | a (10-7 K-1) | k (W/m/K) | ds (nm)
Fused Silica | 5,5 | 1,31 | 16,7
ULE | 0,1 | 1,38 | 0,29
Cost…
For Ps = 500 kW
Thermal expansion
Ultra Low Expansion glass

## Slide 10: Coupling losses
Input laser beam
Circulating
laser beam
Spatial matching
Perfect
Stored power = Coupling*Pmax
Elliptical modes
Stored power decreases
Deterioration
Coupling =
Input laser beam
Circulating
laser beam
nx = sc
Thermal effects

## Slide 11: Conlusion and prospects
ThomX
Compton backscattering-based machine
Societal applications
High photons flux required
Thermal effects must be mastered
Analytic calculations
Simulations
Studies on prototypes
ThomX installation (2016), electronics, commissioning (2017), first applications…
~ end 2015

## Slide 12: Thank you for your attention