## Slide 1: R&D of Freedback-Free Optical Resonant Cavity
Tohru Takahashi
Hiroshima University
September 14 2016
PosiPol2016@LAL Orsay
for
Y.Hosaka, Y. Uesugi，J. Urakawa，T. Omori，A. Kosuge，T. Takahashi，Y. Honda，M. WashioB

## Slide 2: Contents
Status and Issues of the Optical Resonant Cavity
An idea of the feedback-free cavity
Status of the R&D
  Continuous Wave -> Pulsed Oscillation

## Slide 3: Introduction
Photons by Laser-Compton Scattering
  Lower electron energy
  Polarized photons
Ee~1GeV for 10MeV gammas
Issue
increase intensity of photons
x ray
Polarized gamma ray:
M.Fukuda. et. al, Phys. Rev. Letts. 91, 164801 (2003)
Polarized e+ ;
T.Omori, et. al, Phys. Rev. Letts 96, 114801(2006)

## Slide 4
Miyoshi PosiPol2010
dL∝l/enhancement ~0.01nm
for enhancement ~1000
l
Lcav

## Slide 5
The KEK-Hiroshima Cavity
IP
Plane Mirror
Concave Mirror
Plane Mirror
Concave Mirror
Main Parameters
Circumference: Lcav=1.68m
Finesse: F=4040(Measured)
Power Enhansement: 1230 2.5kW average

## Slide 6: Taward High Power Storage
High reflective mirrors
  99.999%
  very low power loss O(ppm) to prevent thermal effect
  sophisticated control system
  sophisticated mirror treatment and leaning
  A Feedback free cavity
(currently ~16pm)

## Slide 7: Self- Resonating Mechanism (KEK,Waseda,Hiroshima)
Laser medium
An Optical cavity is embedded in the laser oscillation
Start laser oscillating with a wavelength selected by the cavity (positive feedback)
If the cavity length changes, the system continue or resume to oscillation with a new wavelength selected by the cavity
Cavity

## Slide 8: Schematic
Output
Input
Isolator
Pump LD
Yb fiber amp.
Cavity

## Slide 9: A real optical ray-out
Pump LD
YDF
WDM
Coupler1
Coupler2
PBS2
QWP3
QWP2
PBS1
HWP
QWP1
FP cavity
FI1
FI2
L1
L2
PD2
PD1
PD3
M1
M2
to SP
to SP
W1
W2
FC1
FC2

## Slide 10: It looks,,,
Cavity
Pump LD
WDM
YDF

## Slide 11: High Finesse Oscillation
Incident power 13.5 mW
Transmitted power 4.8 mW
Reflected power 2.8 mW
PD1
PD3
PD2
to SP
Cavity
Amplifier
σ ~ 1.7 %
Enhancement factor
=187,000
  The Effective Finesse inc. stability of the system
  = 324,000

## Slide 12: Toward the mode locked pulse Oscillation
Seeding mode locked pulses with
Nonlinear Polarization Rotation (NPR) optics
NPR fiber optics

## Slide 13: Pulse Oscillation
Mode locked pulsed oscillation requires overlap of laser pulses in the
inner loop (cavity ) and the outer loop
We chose,,,,,

## Slide 14: Demonstration of the pulse oscillation

## Slide 15
Pulsed Feedback-Free Self-Resonating Cavity

## Slide 16
1.8 m
Pulsed Feedback-Free Self-Resonating Cavity

## Slide 17: Model locked pulse oscillation
After adjustment of Lloop
Intensity [arb. unit]
CW
Mode-Locked
Pulse

## Slide 18: Power and enhansements
Power Inside the cavity 4.2W
Incident power 0.111W
Power Enhancement 38

## Slide 19: Summary
New idea to avoid precise control of high finesse is on going.
Successfully demonstrated
  High finesse oscillation with continuous wave
  mode locked pulse oscillation
Plan and issues
  need more stability to keep oscillation
  more power in the outerloop
  more finesse in the cavity
Compton

## Slide 20: Performance of the cavity (alone)
Finesse: F = 2πcτ / L (L: cavity length)
☆ Measured finesse:
F = 650,000 which corresponds to R = 99.99952 %
ΔL must be less than 1.6 pm to keep this cavity on resonance
Transmitted power [a.u.]
Switch OFF
Laser
1047 nm
PD
Triger signal
Decay time constant
τ = 142.5±0.1 [us]
Time [us]
Cavity