## Slide 1: Conclusion
J.Maalmi, on behalf of the organizing committee

## Slide 2
Some of your wishes (1)
WaveCatcher & SAMPIC/SAMPET
Cross platform libraries (Windows, Linux)
Increased data acceptance rate
Synchronisation between multiple modules even between a SAMPIC and a WaveCatcher
WaveCatcher
Increased time window
Anti-coincidence!
What about multiple Peaks in the waveform? => array of feature extracted peaks
Averaging waveforms? In the library?
more dynamic range -> modern MATACQ board?
USB under linux!
Identify the peak within a restricted time window
Noisy?
MPS algorithm inside firmware ( S.Pioli)
LUT for coincidences
Separate ready and busy signals

## Slide 3
Some of your wishes (2)
SAMPIC
working at lower frequencies
working at 10 GS/s
level 1 buffer inside SAMPIC?
two trigger levels?
JTAG interface on the mezzanine connector?
SAMPET (Digital)
More channels inside chip: 32? 64?
fixed threshold computation inside chip
no external FPGA? Far away?
SAMPIC/SAMPET
reduced dead time
increased hit rate at the output of the modules
higher hit rate at output of the chip?

## Slide 4
Some reported bugs
Charge value? (O.De la Rorre)
FTDI and Linux  Narval?
problem with usb connection ( O.De la Torre)
Problem reading calibration values in EEPROM ( S. Pioli)
Software stability
  Still other to come….

## Slide 5
WaveCatcher and SAMPIC users groups : common?
Deposit for common software developments? Possible with our owncloud website? What about versioning?
Forum for discussion? Raised bugs? Suggestions?
Graphical interface for Linux?
Some suggestions

## Slide 6
Future workshop?
Not in February!!!!!!!
Each N years?

## Slide 7
Thank you for having been here…